| [1] | Draft Annex to ISPM 27:2006 – Erwinia amylovora (Burrill) (2004-009) |
| --- | --- |
| [2] | Status box This is not an official part of the standard and it will be modified after adoption Date of this document 2014-06-23 Document category Draft new annex to ISPM 27:2006 (Diagnostic protocols for regulated pests) Current document stage From the editor (prior to SC for approval for MC) Origin Work programme topic: Bacteria, CPM-1 (2006) Original subject: Erwinia amylovora (2004-009) Major stages 2012-11 First draft presented to TPDP (meeting) 2013-06 Draft presented to the TPDP (meeting) 2014-05: SC approved for member consultation (2014_eSC_May_08) Consultation on technical level The first draft of this protocol was written by Maria M. López (Bacterología, Instituto Valenciano de Investigaciones Agrarias, IVIA, Moncada, Spain), Rodney Roberts (Tree Fruit Research Laboratory, USDA-ARS, Wenatchee, USA) and Robert Taylor (Plant Health and Environment Laboratory, Ministry for Primary Industries, Auckland, New Zealand). The following experts also contributed to the preparation of the draft: J. Peñalver, M.T. Gorris, P. Llop, M. Cambra (Instituto Valenciano de Investigaciones Agrarias, IVIA, Centro de Protección Vegetal y Biotecnología, Moncada, Spain). The protocol was subjected to expert review by the following international experts: Solke de Boer (Canadian Food Inspection Agency, Charlottetown, PEI, Canada); Klaus Geider (Julius Kuhn Insitut, Dossenheim, Germany): Won-Sik Kim (Norgen Biotek Corp., Ontario, Canada); Larry Pusey (USDA-ARS, Wenatchee, WA, USA); Virginia Stockwell (Department of Botany and Plant Pathology, Oregon State University, Corvallis, OR, USA); Robert Taylor (Plant Health and Environment Laboratory, MAF Biosecurity, Auckland, New Zealand); Annette Wensing (Julius Kuhn Institut, Dossenheim, Germany). Some techniques described were ring tested in the DIAGPRO project financed by the EU. The participants in the 2003 ring test for evaluating the E. amylovora detection techniques were laboratories from the Netherlands (1), Austria (1), Norway (1), Spain (3), UK (1), Portugal (1), France (1), and Belgium (1). The results were published in Acta Horticulturae (López et al., 2006) and form the basis of the EPPO protocol (EPPO/OEPP. 2004. Diagnostic protocols for regulated pests. Erwinia amylovora standards PM 7/20. Bulletin OEPP-EPPO Bulletin, 34; 159–171), revised in 2012. This revised version was written by the same authors with the cooperation of I. Navarro, A. Arilla and B. Álvarez. The techniques described were ring tested first in 2009 in the context of an EUPHRESCO project by five EU participants from Austria, Spain, Slovenia, France and Switzerland. The final report is available (www.euphresco.org/downloadFile.cfm?id=662 i.e. Dreo et al., 2009). The new and more efficient techniques and protocols were then ring tested in 2010 by 14 laboratories from Austria (1), Spain (3), France (1), Morocco (2), the Netherlands (2), New Zealand (1), Russia (1), Slovenia (1), Serbia (1) and the USA (1) using healthy samples and healthy samples co-mixed with inoculum levels from 1 to 106 c.f.u./ml. The protocol for the ring test was agreed to by the participants beforehand and the summary of the results is also available (López et al., 2010). Main discussion points during development of the diagnostic protocol - Notes This is a draft document. |
| [3] | Adoption |
| [4] | This diagnostic protocol was adopted by the Commission on Phytosanitary Measures in 20--. |
| [5] | Pest Information |
| [6] | Erwinia amylovora is the causal agent of fire blight disease, which affects most species of the subfamily Maloideae of the family Rosaceae (Spiraeoideae). It was the first bacterium described as the causal agent of a plant disease (Burrill, 1883). E. amylovora is considered to be native to North America and was first detected outside North America in New Zealand in 1920. Fire blight was reported in England in 1957 and since then the bacterium has been detected in most areas of Europe where susceptible hosts are cultivated. E. amylovora is now present in more than 40 countries. It has not been recorded in South America and most African and Asian countries (with the exception of countries surrounding the Mediterranean Sea), and it has been eradicated in Australia after one report there (van der Zwet, 2004). It represents a threat to the pome fruit industry of all these countries (Bonn and van der Zwet, 2000). Details on geographic distribution can be found in the EPPO Plant Quarantine Data Retrieval System (EPPO, 2012). The most important host plants from both economic and epidemiological viewpoints are in the genera Chaenomeles, Cotoneaster, Crataegus, Cydonia, Eriobotrya, Malus, Mespilus, Pyracantha, Pyrus, Sorbus and Stranvaesia (Bradbury, 1986). The E. amylovora strains isolated from Rubus sp. in the United States is distinct from the strains on other hosts (Powney et al., 2011b; Starr et al., 1951). Fire blight is probably the most serious bacterial disease affecting Pyrus communis (pear) and Malus domestica (apple) cultivars in many countries. Epidemics are sporadic and are dependent on a number of factors, including favourable environmental conditions, sufficient inoculum level present in the orchard, and host susceptibility. The development of fire blight symptoms follows the seasonal growth development of the host plant. The disease begins in spring with the production of the primary inoculum from bacteria overwintering in cankers (Thomson, 2000) causing blossom infection, continuing into summer with shoot and fruit infection, and ending in winter with the development of cankers throughout the dormant period of the host (Thomson, 2000; van der Zwet and Beer, 1995). |
| [7] | Taxonomic Information |
| [8] | Name: Erwinia amylovora (Burrill 1882) Winslow et al., 1920 Synonyms: Micrococcus amylovorus Burrill 1882 Bacillus amylovorus (Burrill) Trevisan 1889 “Bacterium amylovorus” [sic] (Burrill 1882) Chester 1897 Erwinia amylovora f.sp. rubi Starr, Cardona and Falson (Starr et al., 1951) Taxonomic position: Proteobacteria, Y subdivision, Enterobacteriales, Enterobacteriaceae Common names: Fire blight (EPPO, 2013) |
| [9] | Detection |
| [10] | Diagnosis of fire blight can be achieved using isolation and serological and molecular tests. The assays indicated below are recommended after having been evaluated in one or more of the following ring tests: in 2003 in a Diagnostic Protocols for Organisms Harmful to Plants (DIAGPRO) project involving ten laboratories (López et al., 2006); in 2009 in a European Phytosanitary Research Coordination (EUPHRESCO) project involving five laboratories (Dreo et al., 2009); and in 2010 by fourteen laboratories worldwide (López et al., 2010). The tests indicated in Figures 1 and 2 are the minimum requirements for the diagnosis, but further tests may be required by the national plant protection organization (NPPO), especially for the first report in a country. For example, serological methods may facilitate a presumptive diagnosis of symptomatic plant material; however, an additional test based on a different biological principle should be used for detection. In all tests, positive and negative controls must be included. The use of products of commercial brands in this diagnostic protocol implies no approval of them to the exclusion of others that may also be suitable. This information is given for the convenience of users of this protocol and does not constitute an endorsement by the CPM of the chemical, reagent and/or equipment named. Equivalent products may be used if they can be shown to lead to the same results. |
| [11] | 3.1 Detection in plants with symptoms |
| [12] | 3.1.1 Symptoms |
| [13] | Symptoms of fire blight on the most common hosts such as P. communis (pear), M. domestica, (apple), Cydonia spp. (quince), Eriobotrya japonica (loquat), Cotoneaster spp. (cotoneaster), Pyracantha spp. (pyracantha) and Crataegus spp. (hawthorn) are similar and easily recognized. The name of the disease is descriptive of its major characteristic: the brownish, necrotic appearance of twigs, flowers and leaves, as though they had been burned by fire. The typical symptoms are the brown to black colour of leaves on affected branches, the production of exudates, and the characteristic “shepherd’s crook” of terminal shoots. Depending on the affected plant part, the disease produces blossom blight, shoot/twig blight, leaf blight, fruit blight, limb/trunk blight or collar/rootstock blight (van der Zwet and Beer, 1995; van der Zwet and Keil, 1979). In apple and pear trees the first symptoms usually appear in early spring when average temperatures rise above 15 °C, during humid weather. Infected blossoms become soaked with water, then wilt, shrivel, and turn orange or brown to black. Peduncles may also appear water-soaked, become dark green and finally brown or black, sometimes oozing droplets of sticky bacterial exudate. Infected leaves wilt and shrivel, and entire spurs turn brown in apples and dark brown to black in pears, but remain attached to the tree for some time. Upon infection young fruitlets turn brown but also remain attached to the tree. Immature fruit lesions appear oily or water-soaked, becoming brown to black and often exuding droplets of bacterial ooze. Characteristic reddish-brown streaks are often found in the subcortical tissues when the bark is peeled from infected limbs or twigs (Thomson, 2000; van der Zwet and Keil, 1979). Brown to black slightly depressed cankers form in the bark of twigs, branches or the trunk of infected trees. These cankers later become defined by cracks near the margin of diseased and healthy tissue (Thomson, 2000). Confusion may occur between fire blight and blight- or blast-like symptoms – especially in blossoms and buds – caused by other pathogenic bacteria and fungi, insect damage or physiological disorders. Other bacteria that cause fire blight-like symptoms include Erwinia pyrifoliae, the causal agent of bacterial shoot blight of Pyrus pyrifolia (Asian pear) (Kim et al., 1999); Erwinia piriflorinigrans, isolated from necrotic pear blossoms in Spain (López et al., 2011); Erwinia uzenensis, recently described in Japan (Matsuura et al., 2012); other Erwinia spp. reported in Japan that cause bacterial shoot blight (Kim et al., 2001a, 2001b; Palacio-Bielsa et al., 2012; Tanii et al., 1981); and Pseudomonas syringae pv. syringae, the causal agent of blossom blast. A definitive diagnosis of fire blight should always be obtained through laboratory analysis. |
| [14] | 3.1.2 Sampling and sample preparation |
| [15] | Plant material should be analysed as soon as possible after collection, but may be stored at 4–8 ºC for up to two weeks until processing. Precautions to avoid cross-contamination should be taken when collecting samples, during transport and processing, and especially while isolating the bacterium or extracting DNA. The samples should be processed with a general procedure valid for isolation, serological tests and polymerase chain reaction (PCR) analysis, before or after enrichment. The use of freshly prepared antioxidant maceration buffer (polyvinylpyrrolidone (PVP)-10, 20 g; mannitol, 10 g; ascorbic acid, 1.76 g; reduced glutathione, 3 g; phosphate-buffered saline (PBS), 10 mM, 1 litre; pH 7.2; sterilized by filtration) is required for successful enrichment, as indicated by Gorris et al. (1996). The samples can be processed also in PBS, pH 7.2 (NaCl, 8 g; KCl, 0.2 g; Na2HPO4·12H2O, 2.9 g; KH2PO4, 0.2 g; distilled water, 1 litre) for direct isolation, immunofluorescence (IF) or PCR. Plant parts (flowers, shoots, twigs, leaves or fruit) showing the most typical symptoms, and with bacterial exudate if possible, are carefully selected. Material for processing is selected from the leading edge of disease lesions. The plant tissue is cut into pieces of approximately 0.1–1.0 g, lightly crushed in antioxidant maceration buffer (described in the previous paragraph) at 1:50 (w/v), left to stand for at least 5 min, and placed on ice for a few minutes. Triplicate samples (1 ml each) of each macerate are transferred to sterile micro centrifuge tubes, with one tube stored at –20 ºC for subsequent analysis by PCR and another tube's contents adjusted to 30% glycerol and stored at –80 ºC for confirmation testing, if necessary. The third tube is kept on ice for performing enrichment before enzyme-linked immunosorbent assay (ELISA) or PCR, and isolation on selective media (Figure 1). If IF is to be performed (i.e. IF analysis is optional), the slides are prepared and fixed on the same day that the samples are macerated. The PCR analysis should be performed as soon as is convenient, using the macerated sample stored at –20 ºC. |
| [16] | 3.1.3 Isolation |
| [17] | 3.1.3.1 Isolation from symptomatic samples |
| [18] | When symptoms are very advanced or the environmental conditions after infection are not favourable for bacterial multiplication, the number of culturable E. amylovora cells can be very low. Isolation under these conditions can result in plates with few cells of the pathogen and that can be overcrowded with saprophytic and antagonistic bacteria. If this is suspected, the sample should be re-tested and/or enriched before isolation. The induction of the reversible and viable but non-culturable state has been described for E. amylovora in vitro using copper treatments and in fruits (Ordax et al., 2009), and it can be the cause of false negative isolation results. In general, plating on three media is advised for maximum likelihood of recovery of E. amylovora, especially when samples are not in good condition. Depending on the number and microbial composition of the sample, each medium can be more or less efficient. Three media (CCT, King’s B and Levan) have been validated in two ring tests, with Levan having the highest plating efficiency. |
| [19] | CCT medium is prepared in two parts. Part 1: sucrose, 100 g; sorbitol, 10 g; Niaproof, 1.2 ml; crystal violet, 2 ml (solvent 0.1% ethanol); nutrient agar, 23 g; distilled water, 1 litre; pH 7.0–7.2; sterilized by autoclaving at 115 ºC for 10 min. The autoclaved medium is cooled to approximately 45 ºC. Part 2: thallium nitrate, 2 ml (1% w/v aqueous solution); cycloheximide, 0.05 g; the thallium nitrate and cycloheximide solution should be sterilized by filtration. Part 2 is added to 1 litre sterile Part 1 mixture (Ishimaru and Klos, 1984). |
| [20] | King’s B medium consists of: proteose peptone no. 3, 20 g; glycerol, 10 ml; K2HPO4, 1.5 g; MgSO4.7H2O, 1.5 g; agar, 15 g; distilled water, 1 litre; pH 7.0–7.2; sterilized by autoclaving at 120 ºC for 20 min (King et al., 1954). |
| [21] | Levan medium consists of: yeast extract, 2 g; bactopeptone, 5 g; NaCl, 5 g; sucrose, 50 g; agar, 20 g; distilled water, 1 litre; pH 7.0–7.2; sterilized by autoclaving at 120 ºC for 20 min. |
| [22] | Cycloheximide is added at 0.05 g/litre to King’s B and Levan media when fungi are expected in the isolations. Dilutions of 1:10 and 1:100 of each macerate are prepared in PBS (NaCl, 8 g; KCl, 0.2 g; Na2HPO4·12H2O, 2.9 g; KH2PO4, 0.2 g; distilled water, 1 litre). Preferably 100 µl of the macerates and their dilutions are spread, by triple streaking in 130 mm plates or fifty microliters spread in standard 90 mm Petri dishes. Plates are incubated at 25 ºC for up to 4 days. The final reading is usually taken at 72 h. Colonies of E. amylovora on CCT medium are pale violet, circular, high convex to domed, smooth and mucoid and they grow more slowly than on King’s B or Levan media. Colonies on King´s B medium are creamy white, circular and non-fluorescent under ultraviolet (UV) light at 366 nm. Colonies on Levan medium are white, circular,, domed, smooth and mucoid. Levan-negative colonies of E. amylovora have been reported (Bereswill et al., 1997). Pure cultures are obtained from individual suspect colonies of each sample by dilution and streaking onto King’s B medium. Presumptive colonies of E. amylovora are identified preferably by inoculating any available E. amylovora host to test pathogenicity, by double antibody sandwich indirect (DASI)-ELISA, PCR or by other appropriate tests (e.g. biochemical tests, IF, fatty acid profile), as indicated in section 4. When analysing symptomatic samples, good correlation is expected between isolation, IF, enrichment DASI-ELISA (see section 3.1.4.1) and PCR. In the 2003 and 2010 ring tests, the accuracy of isolation was 0.88 and 0.81 for King’s B, 0.92 and 0.89 for Levan, and 0.92 and 0.95 for CCT media, respectively (López et al., 2006; Lopez, IVIA, Spain, personal communication, 2012). In the 2009 ring test, accuracy of isolation was 0.96 for CCT (Dreo et al., 2009). |
| [23] | 3.1.3.2 Enrichment isolation |
| [24] | Enrichment is used to multiply the initial population of culturable E. amylovora in a sample and to perform enrichment DASI-ELISA. It should be carried out before isolation (even for symptomatic samples) when a low number of culturable E. amylovora cells is expected to be present (e.g. for copper-treated samples, samples with old symptoms, samples collected during unfavourable weather conditions for fire blight such as the winter season). The enrichment step greatly increases the sensitivity of DASI-ELISA. The use of two validated liquid media for enrichment – one non-selective (King’s B) and one semi-selective (CCT) – is advised because the composition and population size of the microbiota is unknown. The tissue sample is macerated as described in section 3.1.2 and 0.9 ml is immediately dispensed into each of two sterile 10–15 ml tubes (to ensure sufficient aeration) containing 0.9 ml of each liquid enrichment medium (King’s B without agar, and CCT made with nutrient broth instead of nutrient agar). The tubes are incubated at 25 ºC for 48–72 h without shaking. A longer incubation is recommended when processing plant samples collected in winter. Both enrichment broths and the 1:10 and 1:100 dilutions prepared in PBS are spread onto CCT plates, by triple streaking, to obtain isolated colonies. Plates are incubated at 25 ºC for 72–96 h. Final reading of the CCT plates is at 72 h and must be followed by purification of colonies and identification. The use of semi-selective medium for plating and dilution is advised because the enrichment step will permit growth of the pathogen but will also allow abundant multiplication of other bacteria. The accuracy of the enrichment isolation on King’s B and CCT was 0.97 in the 2010 ring test. |
| [25] | 3.1.4 Serological detection |
| [26] | 3.1.4.1 Enrichment DASI-ELISA |
| [27] | A kit for enrichment DASI-ELISA has been validated in two ring tests and is available commercially from Plant Print Diagnòstics SL, Valencia, Spain. It is based on the mixture of two specific monoclonal antibodies described in Gorris et al. (1996) and requires prior enrichment of the samples, as previously described. The following protocol must be followed strictly for maximum accuracy. Before ELISA, the required amount of the enriched extracts and controls is treated by incubating in a water bath at 100 ºC for 10 min. This treatment is necessary for optimum specificity. The boiled samples are processed (at room temperature) by ELISA on the same day (or stored at –20 ºC for subsequent analysis) following the instructions provided by the manufacturer of the commercial kit. The ELISA is negative if the average optical density (OD) reading from duplicate sample wells is <2× the OD in the negative sample extract control wells (providing the OD for the positive control wells are above 1.0 after 90 min incubation and are greater than twice the OD obtained for negative sample extracts). The ELISA is positive if the average OD reading from duplicate sample wells is >2× the OD in the negative sample extract control wells (providing all negative control wells are lower than 2× the average OD reading of the positive control wells). Negative ELISA readings in positive control wells indicate that the test has not been performed correctly and/or the reagents were not well prepared. Positive ELISA readings in negative control wells indicate cross-contamination or non-specific antibody binding. In both cases, the test should be repeated or a second test based on a different biological principle, such as PCR, should be performed. The accuracy of the DASI-ELISA was 0.79 and 0.82 for enrichment in King’s B medium (King’s B-DASI-ELISA), and 0.83 and 0.77 for enrichment in CCT medium (CCT-DASI-ELISA) in the 2003 and 2010 ring tests, respectively (López et al., 2006; López 2013, personnel communication unpublished). |
| [28] | 3.1.4.2 Direct tissue print-ELISA |
| [29] | To make tissue prints, freshly cut plant sections are pressed carefully against a nitrocellulose membrane. Prints are prepared for positive and negative controls. Printed membranes can be kept for several months in a dry place at room temperature. A kit is available commercially from Plant Print Diagnòstics. To develop prints, the manufacturer’s instructions should be followed. The prints are observed under low power magnification (×10 or ×20). The test is positive when purple–violet precipitates appear in the sections of plant material that is printed on the membrane and not in the plant material print of the negative control. If exudates or colonies are printed they should appear violet when positive. The test is negative when no purple–violet precipitates appear, as in the negative control. |
| [30] | 3.1.4.3 Immunofluorescence |
| [31] | Immunofluorescence (IF) is a recommended alternative serological method, and it is easy to follow the standard protocol (Anonymous, 1998). A validated source of antibodies to E. amylovora should be used. Two commercial antibodies have been validated in one ring test: one monoclonal antibody is available through Plant Print Diagnòstics SL and one polyclonal antibody from Loewe Biochemicals (Sauerlach, Germany). The IF should be performed on fresh sample extracts fixed onto slides. Undiluted macerates and dilutions of 1:10 and 1:100 in PBS are used to spot windows of the IF slides. The monoclonal or polyclonal antibodies are used at the appropriate dilutions in PBS. The appropriate fluorescein isothiocyanate (FITC) conjugates are diluted in PBS: goat anti-mouse for monoclonal antibodies (GAM-FITC), and goat anti-rabbit (GAR-FITC) or anti-goat for polyclonal antibodies. The test on a sample is negative if green fluorescing cells with morphology typical of E. amylovora are observed in the positive controls, but not in the sample windows. The test on a sample is positive if green fluorescing cells with typical morphology are observed in the positive controls and in the sample windows, but not in the negative control windows. As a population of 103 cells/ml is considered the limit for reliable detection by IF, for samples with >103 cells/ml, the IF test is considered positive. For samples with <103 cells/ml, or weakly fluorescing cells, the result of the IF may be considered uncertain. The accuracy of IF in the 2003 ring test was 0.70 for the Plant Print Diagnòstics SL monoclonal antibody, and 0.72 for the Loewe Biochemicals polyclonal antiserum, confirming that the sensitivity of the technique is around 103 c.f.u./ml. |
| [32] | 3.1.4.4 Lateral flow immunoassays |
| [33] | Two lateral flow devices are available commercially for rapid analysis of plant material: Ea AgriStrip (Bioreba, Reinach, Switzerland) and Pocket Diagnostics (Forsite Diagnostics, York, UK). Following the manufacturers’ instructions their accuracy in the ring tests was 0.66 and 0.55 for Ea AgriStrip and 0.64 and 0.56 for Pocket Diagnostics in the 2009 and 2010 ring tests, respectively. These results were obtained for the detection of E. amylovora in samples from 1–to106 c.f.u./g, but the accuracy was approximately 1.0 when analysing samples with 105–106 c.f.u./g, the minimum number expected in symptomatic samples (López et al., 2010). The kits are recommended for use only with symptomatic samples. |
| [34] | 3.1.5 Molecular detection |
| [35] | Several PCR methods and one loop-mediated isothermal amplification (LAMP) protocol, available for the detection of E. amylovora, were evaluated extensively in ring testing by several laboratories (Lopez et al., 2010; Lopez, IVIA, Spain, personal communication, 2012). The specificity of some of these methods has been evaluated recently by Powney et al. (2011a). Conventional PCR methods may be more expensive and time consuming and usually require more training than serological methods. They are not always appropriate for large-scale testing for the above indicated reasons and for the risk of contamination. However, real-time PCR and some conventional PCR protocols and nested PCR in one tube have provided highly accurate results and they are therefore recommended molecular methods. All PCR assays should be performed using DNA extracted from the samples because of the high amount of inhibitors of E. amylovora hosts, or from enriched samples, which have increased reliability of detection. |
| [36] | 3.1.5.1 Controls for molecular tests |
| [37] | For the test result obtained to be regarded as reliable the following controls should be considered for each series of nucleic acid isolations and amplification of the target nucleic acid. Controls used will depend on the test used and the level of certainty required. For PCR, a positive nucleic acid control, an internal control and a negative amplification control (no template control) are the minimum controls that should be used. Positive nucleic acid control This control is used to monitor the efficiency of the PCR amplification of the target nucleic acid (but does not test the nucleic acid extraction procedure) Pre-prepared (stored) nucleic acid, whole genome amplified DNA or a synthetic control (e.g. cloned PCR product) may be used. Internal control For conventional and real-time PCR, plant internal controls (House Keeper Genes (HKG) such as COX (Weller et al., 2000) or 16S rDNA (Weisberg et al., 1991) could be incorporated into the PCR protocols to eliminate the possibility of PCR false negatives due to nucleic acid extraction failure or degradation or the presence of PCR inhibitors. Negative amplification control (no template control). This is a necessary control for conventional and real-time PCR to rule out false positives due to contamination during preparation of the reaction mixture. PCR-grade water that was used to prepare the reaction mixture is added at the amplification stage. Positive extraction control This control is used to ensure that nucleic acid from the target is of sufficient quantity and quality and that the target is detected. Nucleic acid is extracted from infected host tissue or healthy plant tissue that has been spiked with the target. The positive control should be approximately one-tenth of the amount of leaf tissue used per plant for the DNA extraction. For PCR, care needs to be taken to avoid cross-contamination due to aerosols from the positive control or from positive samples. If required, the positive control used in the laboratory should be sequenced so that this sequence can be readily compared with sequences obtained from PCR amplicons of the correct size. Alternatively, synthetic positive controls can be made with a known sequence, which, again, can be compared to PCR amplicons of the correct size. Negative extraction control This control is used to monitor contamination during nucleic acid extraction as well as cross-reactions with the host tissue. The control requires nucleic acid that is extracted from uninfected host tissue and subsequently amplified. It is recommended that multiple controls are included when large numbers of positives are expected. |
| [38] | 3.1.5.2 DNA extraction |
| [39] | Three DNA extraction methods – Llop et al. (1999), Taylor et al. (2001) and the REDExtract-N-AmpPlant PCR Kit (Sigma-Aldrich, USA) – were evaluated in the 2009 ring test (Dreo et al., 2009), with four PCR protocols with accuracies ranging from 0.67 to 0.76. The methods showed comparable results in the 2010 ring test (Lopez et al., 2010), as indicated below in the accuracies given for the different PCR methods. Their efficiencies did not improve after diluting the extracts 1:10, suggesting that few or no inhibitors were present. Based on these findings, the Llop et al. (1999) extraction method is recommended as it has been extensively tested in a number of countries and is cheap and easy to set up in the laboratory. DNA extraction according to Llop et al. (1999) One millilitre of a sample macerate prepared according to section 3.1.2 and/or 1 ml enriched macerate is centrifuged at 10 000 g for 5 min at room temperature. The supernatant is discarded, and the pellet is resuspended in 500 µl extraction buffer (Tris-HCl pH 7.5, 24.2 g; NaCl, 14.6 g; ethylenediaminetetraacetic acid (EDTA), 9.3 g; sodium dodecyl sulphate (SDS), 5 g; PVP-10, 20 g; distilled water, 1 litre; sterilized by filtration) and incubated for 1 h at room temperature before centrifugation at 4 000 g for 5 min. Approximately 450 µl supernatant is mixed with an equal volume of isopropanol, inverted, and left at room temperature for 30 min to 1 h. The precipitated nucleic acid is centrifuged at 10 000 g for 5 min, the supernatant is discarded and the pellet is air-dried. If there is still a coloured precipitate (brown or green) at the bottom of the tube, this is carefully removed while discarding the supernatant, thus obtaining a cleaner DNA pellet. The pellet is resuspended in 200 µl water. It should be used for PCR immediately or stored at –20 ºC. |
| [40] | 3.1.5.3 DNA amplification by PCR |
| [41] | There are many PCR primers and protocols described for E. amylovora detection and some have shown specificity problems (Powney et al., 2011a; Roselló et al., 2006). The primers and protocols validated in ring tests were those of Bereswill et al. (1992) and Llop et al. (2000), with or without previous enrichment, in 2003; and those of Taylor et al. (2001), Stöger et al. (2006) and Obradovic et al. (2007) in 2009 and 2010. The discovery of fully virulent E. amylovora strains without the pEA29 plasmid (Llop et al., 2006) and experiences from different countries (Powney et al., 2011a) indicate that two PCR protocols should be used: one with primers based on pEA29 sequences, and another targeting unique chromosomal sequences. PCR can be carried out using the primers and conditions validated in the ring tests, although amplification conditions should be optimized for different thermo cyclers. PCR according to Bereswill et al. (1992) The primers are: Forward primer: A: 5′-CGG TTT TTA ACG CTG GG-3′ Reverse primer: B: 5′-GGG CAA ATA CTC GGA TT-3′. The targeted sequences are in the plasmid pEA29. The PCR mixture is composed of: ultrapure water, 17.4 µl; buffer 10×, 2.5 µl; MgCl2 50 mM, 1.5 µl; dNTPs 10 mM, 0.5 µl; primer A 10 pmol/µl, 0.25 µl; primer B 10 pmol/µl, 0.25 µl; Taq DNA polymerase 5 U/µl, 0.1 µl. The extracted DNA sample volume is 2.5 μl, and should be added to 22.5 μl of the PCR mix. The cycling parameters are: a denaturation step of 93 ºC for 5 min followed by 40 cycles of 93 ºC for 30 s, 52 ºC for 30 s and 72 ºC for 1 min 15 s, with a final elongation step at 72 ºC for 10 min. The amplicon size is 900 base pairs (bp) according to Bereswill et al. (1992), although variations in size can occur between 900 and 1 100 bp depending on the number of 8 bp repeats within the amplified fragment (Jones and Geider, 2001). The accuracy in the 2004 ring test was 0.51 but increased to 0.74 and 0.78 after enrichment of the samples in King’s B and CCT media, respectively (López et al., 2006). PCR according to Taylor et al. (2001) The primers are: G1-F: 5′-CCT GCA TAA ATC ACC GCT GAC AGC TCA ATG-3′ G2-R: 5′-GCT ACC ACT GAT CGC TCG AAT CAA ATC GGC-3′. The targeted sequences are chromosomal. The PCR mixture is composed of: ultrapure water, 14.3 µl; buffer 10×, 2.5 µl; MgCl2 50 mM, 0.75 µl; dNTPs 10 mM, 0.25 µl; G1-F 10pmol/µl, 1 µl; G2-R 10pmol/µl, 1 µl; Taq DNA polymerase 5 U/µl, 0.2 µl. An extracted DNA sample of 5 μl is added to 45 μl PCR mix. The cycling parameters are: 95 ºC for 3 min followed by 40 cycles of 94 ºC for 30 s, 60 ºC for 30 s and 72 ºC for 1 min, with a final extension step at 72 ºC for 5 min, and cooling at 15 ºC. The amplicon size is 187 bp. The accuracy in the 2010 ring test was 0.77 using the Llop et al. (1999) DNA extraction procedure. PCR according to Stöger et al. (2006) The primers (from Llop et al., 2000) are: Forward primer: PEANT 1-F: 5′-TAT CCC TAA AAA CCT CAG TGC-3′ Reverse primer: PEANT 2-R: 5′-GCA ACC TTG TGC CCT TTA-3′. The targeted sequences are in the plasmid pEA29. Stöger et al. (2006) recommended this method be used with DNA extracted using the REDExtract-N-AmpT Kit (Sigma-Aldrich). The PCR mixture is composed of: ultrapure water, 5 µl; REDExtract-N-Amp PCR Ready Mix, 10 µl; PEANT 1-F 10 pmol/µl, 0.5 µl; PEANT 2-R 10 pmol/µl, 0.5 µl; extracted DNA, 4 µl. The cycling parameters are: 95 °C for 5 min followed by 35 cycles of 95 °C for 15 s, 58 °C for 30 s, and 72 °C for 45 s, with a final extension step at 72 °C for 5 min, and cooling at 15 °C. The expected amplicon is 391 bp. The accuracy in the 2009 ring test was 0.76 and in the 2010 ring test 0.72. PCR according to Gottsberger adapted from Obradovic et al. (2007) The primers are: FER1-F: 5′-AGC AGC AAT TAA TGG CAA GTA TAG TCA-3′ rgER2-R: 5′-AAA AGA GAC ATC TGG ATT CAG ACA AT-3′. The targeted sequences are chromosomal. The mixture is composed of: ultrapure water, 14.3 µl; buffer 10×, 2.5 µl; MgCl2 50 mM, 0.75 µl; dNTPs 10 mM, 0.25 µl; FER1-F 10 pmol/µl, 1 µl; rgER2-R 10 pmol/µl, 1 µl; Taq DNA polymerase 5 U/µl, 0.2 µl; extracted DNA, 5 µl. The cycling parameters are: 94 ºC for 3 min followed by 41 cycles of 94 ºC for 10 s, 60 ºC for 10 s and 72 ºC for 30 s, with a final extension step at 72 ºC for 5 min, and cooling at 15 ºC. The expected amplicon size is 458 bp. The accuracy in the 2009 ring test was 0.76, and in the 2010 ring test 0.68, using the DNA extraction method described by Llop et al. (1999). Nested PCR according to Llop et al. (2000) The nested-PCR of Llop et al. (2000) uses two sets of primers, which are combined in a single reaction tube. Because of the different annealing temperatures the two PCRs are run consecutively. The external primers are those designed by McManus and Jones (1995) and are based on sequences of the pEA29 plasmid. The internal primers are those described by Llop et al. (2000). The sequences are the following: External primers: Forward primer: AJ75: 5′-CGT ATT CAC GGC TTC GCA GAT-3′ Reverse primer: AJ76: 5′-ACC CGC CAG GAT AGT CGC ATA-3′ Internal primers: Forward primer:PEANT1: 5′-TAT CCC TAA AAA CCT CAG TGC-3′ Reverse primer: PEANT2: 5′-GCA ACC TTG TGC CCT TTA-3′. The PCR mixture is composed of: ultrapure water, 36.25 µl; buffer 10×, 5 µl; MgCl2 50 mM, 3 µl; dNTPs 10 mM, 0.5 µl; AJ75 0.1 pmol/µl, 0.32 µl; AJ76 0.1 pmol/µl, 0.32 µl; PEANT1 10 pmol/µl, 1 µl; primer PEANT2 10 pmol/µl, 1 µl; Taq DNA polymerase 5 U/µl, 0.6 µl. A DNA sample volume of 2 µl should be added to 48 µl PCR mix. The cycling parameters are: a denaturation step of 94 ºC for 4 min followed by 25 cycles of 94 ºC for 60 s and 72 ºC for 90 s. This first round PCR is followed in the same thermocycler by a second denaturation step of 94 ºC for 4 min and 40 cycles of 94 ºC for 60 s, 56 ºC for 60 s, and 72 ºC for 60 s, with a final elongation step at 72 ºC for 10 min. The expected amplicon size is 391 bp, although variations in size can occur. The accuracy was 0.69 and 0.72 in the 2003 and 2010 ring tests, respectively, but increased after enrichment up to 0.84 (King’s B medium) and 0.86 (CCT medium) in the 2003 ring test, and to 0.79 (King’s B) and 0.88 (CCT) in 2010. |
| [42] | 3.1.5.4 General considerations for PCR |
| [43] | The PCR protocols may need to be modified (optimized) when using different reagents or thermocyclers. After PCR amplification the presence of E. amylovora can be confirmed by sequencing the PCR products or by restriction fragment length polymorphism (RFLP) analysis. The restriction pattern observed in the amplicons obtained with the primers of Bereswill et al. (1992) or with the nested PCR described by Llop et al. (2000) can be used to confirm the specificity of the PCR analysis when compared with those of a known control strain. Restriction digestion should be performed with the endonucleases DraI and SmaI. The test on a sample is negative if the E. amylovora-specific amplicon of the expected size (and restriction pattern or sequence, when applicable) is not detected in the sample in question but is detected in all positive controls. The test on a sample is positive if the E. amylovora-specific amplicon of the expected size is detected, providing there is no amplification from any of the negative control samples, and the restriction enzyme pattern or amplicon sequence is indicative of E. amylovora. |
| [44] | 3.1.5.5 Real-time PCR |
| [45] | Based on an evaluation of real-time PCR protocols in the ring tests in 2009 and 2010 (Dreo et al., 2009; Lopez et al., 2010) the protocol described by Pirc et al. (2009), which targets chromosomal sequences, was recommended. A duplex real-time PCR based on chromosomal sequences is also available but has not been ring tested (Lehman et al., 2008). Real-time PCR according to Pirc et al. (2009) The following oligonucleotides are used: Ams116F primer: 5′-TCC CAC ATA CTG TGA ATC CA-3′ Ams189R primer: 5′-GGG TAT TTG CGC TAA TTT TAT TCG-3′ Ams141T probe: FAM-CCA GAA TCT GGC CCG CGT ATA CCG-TAMRA. The reaction is carried out in a final volume of 25 µl. The PCR mixture is composed of: ultrapure water, 2.5 µl; 2× TaqMan Fast Universal PCR Master Mix (Applied Biosystems), 12.5 µl; Ams116F 10 pmol/µl, 2.25 µl; Ams189R 10 pmol/µl, 2.25 µl; FAM-labelled Ams141T 10 pmol/µl, 0.5 µl; 5 µl DNA extract added to 20 µl PCR mix. The cycling parameters are: 2 min at 50 ºC; 10 min at 95 ºC; and 40 cycles of 15 s at 95 ºC and 1 min at 60 ºC. The standard mode for temperature ramping rates on analysers 7900HT and 7900HT Fast (Applied Biosystems)1 are: 1.6 ºC/s up and 1.6 ºC/s down. It is possible to run reactions at slower ramp rates, but with faster ramp rates (up and down at approximately 3.5 ºC/s) the results were not acceptable. The expected amplicon size is 74 bp. For analysis, there are usually different options available for setting the signal and noise limits, automatic or manual. The instructions for analysis of the real-time PCR results of the appropriate software should be followed; the baseline should be set automatically, and the threshold should be set manually crossing the exponential phase of the control amplification curves. The accuracy in the 2010 ring test was 0.80, 0.85 and 0.76 with the DNA extraction method of Llop et al. (1999), REDExtract-N-Amp Plant PCR Kit and Taylor et al. (2001), respectively. Real-time PCR according to Gottesberger (2010) The following oligonucleotides that target the E. amylovora chromosome are used: hpEaF primer: 5′-CCG TGG AGA CCG ATC TTT TA-3′ hpEaR primer: 5′-AAG TTT CTC CGC CCT ACG AT-3′ hpEaP probe: FAM-TCG TCG AAT GCT GCC TCT CT-MGB. The reaction is carried out in a final volume of 20 µl. The PCR mixture is composed of: ultrapure water, 6 µl; 2× TaqMan Universal PCR Master Mix (Applied Biosystems), 10 µl; hpEaF 10 pmol/µl, 1 µl; hpEaR 10 pmol/µl, 1 µl; hpEaP 10 pmol/µl, 1 µl; 1 µl DNA extract added to 19 µl PCR mix. The cycling parameters are: 2 min at 50 °C, 10 min at 95°C, and 50 cycles of 15 s at 95 °C and 1 min at 60°C. The expected amplicon size is 138 bp. For analysis, there are usually different options available for setting the signal and noise limits, automatic or manual. The instructions for analysis of the real-time PCR results of the appropriate software should be followed; the baseline should be set automatically, and the threshold should be set manually crossing the exponential phase of the control amplification curves. The accuracy of this real-time PCR could not be tested in the 2010 ring test; however, it was tested in parallel with the real-time PCR described in Pirc et al. (2009) by one laboratory and gave the same qualitative results with the DNA extraction from Llop et al. (1999). |
| [46] | 3.1.5.6 Interpretation of results from PCR |
| [47] | Conventional PCR The pathogen-specific PCR will be considered valid only if: |
| [48] | the positive control produces the correct size product for the bacterium |
| [49] | no amplicons of the correct size for the bacterium are produced in the negative extraction control and the negative amplification control. |
| [50] | If the 16S rDNA internal control primers are also used, then the negative (healthy plant tissue) control (if used), positive control and each of the test samples must produce a 1.6 kilobase (kb) amplicon (16S rDNA). Note that synthetic or plasmid positive controls will not produce a 1.6 kb band. Failure of the samples to amplify with the internal control primers suggests for example that the DNA extraction has failed, the nucleic acid has not been included in the reaction mixture, compounds inhibitory to PCR are present in the DNA extract or the DNA has degraded. The test on a sample will be considered positive if it produces an amplicon of the correct size. Real-time PCR The real-time-PCR will be considered valid only if: |
| [51] | the positive control produces an amplification curve with the pathogen-specific primers |
| [52] | no amplification curve is seen (i.e. cycle threshold (Ct) value is 40) with the negative extraction control and the negative amplification control. |
| [53] | If the COX internal control primers are also used then the negative control (if used), positive control and each of the test samples must produce an amplification curve. Failure of the samples to produce an amplification curve with the internal control primers suggests for example that the nucleic acid extraction has failed, the nucleic acid has not been included in the reaction mixture, compounds inhibitory to PCR are present in the nucleic acid extract or the nucleic acid has degraded. The test on a sample will be considered positive if it produces a typical amplification curve in an exponential manner. The cycle cut-off value needs to be verified in each laboratory when implementing the test for the first time. |
| [54] | 3.1.5.7 Loop-mediated isothermal amplification |
| [55] | The LAMP protocol was developed and described by Temple et al. (2008) and Temple and Johnson (2011). It was evaluated in the 2010 ring test because it was considered appropriate for laboratories not equipped for PCR and it is easy to perform. In the ring test, the LAMP protocol using primers to detect the chromosomal gene amsL of E. amylovora and was found to lack appropriate sensitivity for analysis of samples with low bacterial populations. Consequently, the LAMP protocol described below to detect chromosomal amsL is recommended only for the analysis of symptomatic samples with more than 105–106 c.f.u./ml. The protocol from Temple and Johnson (2011) using primers to detect pEA29 was not evaluated in the ring test. LAMP primers to detect amsL B are: ALB Fip: 5′-CTG CCT GAG TAC GCA GCT GAT TGC ACG TTT TAC AGC TCG CT-3′ ALB Bip: 5′-TCG TCG GTA AAG TGA TGG GTG CCC AGC TTA AGG GGC TGA AG-3′ ALB F: 5′-GCC CAC ATT CGA ATT TGA CC-3′ ALB B: 5′-CGG TTA ATC ACC GGT GTC A-3′. Primers Fip and Bip were used at 2.4 μM and primers F and B at 0.2 μM final concentrations. Melting temperatures for primers were between 58 and 60 °C. The LAMP reaction mixture is composed of: 10× ThermoPol buffer (New England Biolabs), 5 µl; dNTPs 10 mM, 5 µl; MgSO4 100 mM, 2 µl; bovine serum albumin (BSA) 10 mg/ml, 2 µl; ALB FIP 100 μM, 1.2 µl; ALB BIP 100 μM, 1.2 µl; ALB F 10 μM, 1 µl; ALB B 10 μM, 1 µl; Bst DNA polymerase 8 U/µl, 2 µl; sample, 5 µl; ultrapure water, 24.6 µl. Note that the Bst DNA polymerase, water and template DNA are not added to the master mix, but are added separately after aliquoting the master mix. Before starting the LAMP reaction, a water bath or a thermal cycler is set at 65 °C. The mix is prepared and 18.4 μl of the master mix is pipetted into each individual 0.2 ml PCR tube. The Bst DNA polymerase, template DNA and ultrapure water are then pipetted separately into each tube with master mix. The tubes are spun down in a plate spinner (1000 r.p.m. for 30 s) and then are placed in the water bath (65 °C) in a holder so the reaction end is submerged, or in the thermocycler (65 °C) for 55 min. The tubes are removed and allowed to cool for 10 s. The test on a sample is positive if the presence of precipitate as cloudiness in the tube or the presence of a solid white magnesium pyrophosphate precipitate at the bottom of the tube is observed, as for the positive control. A clear solution indicates a negative test result, as should be observed for the negative control. The accuracy in the 2010 ring test was 0.64, but for samples with 105–106 c.f.u./ml the accuracy was 0.80. For this reason LAMP is recommended only for the analysis of symptomatic samples. |
| [56] | 3.2 Detection in asymptomatic plants |
| [57] | 3.2.1 Sampling and sample preparation |
| [58] | Asymptomatic samples can be processed individually (preferred) or in groups of up to 100 (EPPO/OEPP, 1992). Precautions to avoid cross-contamination should be taken when collecting the samples and during the extraction process. Sampling and sample preparation can be performed following one of these protocols: |
| [59] | Blossoms, shoots, fruitlets or stem segments are collected in sterile bags or containers in summer or early autumn, after favourable conditions for the multiplication of E. amylovora have occurred and when average temperatures rise above about 15 ºC (van der Zwet and Beer, 1995). Young shoots approximately 20 cm in length, or blossoms when available, are cut from the suspect plant. If analyses need to be performed in winter, five to ten buds are collected per plant. In the laboratory, blossoms when available, the peduncle and base of the limb of several leaves from the base of the shoots, or the stem segments are cut from the selected plants. About 0.1–1.0 g plant material is weighed and then macerated in antioxidant buffer following the protocol described in section 3.1.2. |
| [60] | A sampling procedure for the analysis of twigs of asymptomatic woody material from nurseries is as follows. A sample comprises 100 twigs, about 10 cm in length, from 100 plants. If there are several plant genera in the lot, these should be represented equally in the sample (with a maximum of three genera per sample). From each sample 30 twigs are randomly taken and each twig is cut into four pieces (producing 120 stem pieces). The samples are covered with sterile PBS containing 0.1% Tween 20 in Erlenmeyer flasks, and flasks are stirred vigorously on a rotary shaker for 1.5 h at room temperature. The extract is filtered through filter paper held in a sintered glass filter using a vacuum pump, and the filtrate is collected. The filtrate is used directly for analysis or centrifuged at 10 000 g for 20 min. The pellet is suspended in 4.5 ml sterile PBS. The detection techniques indicated below are performed. A similar protocol can be applied for leaves, shoots, flowers and buds. |
| [61] | Depending on the timing of the sampling, the expected recovery of E. amylovora will vary, with maximum recovery in summer (providing weather conditions are favourable to E. amylovora) and reduced recovery in winter. Samples should be processed immediately by performing enrichment followed by DASI-ELISA, PCR and isolation using the protocols described for each technique for symptomatic samples in López et al. (2006). IF is optional but must be done directly on the extracts, before enrichment. |
| [62] | 3.2.2 Screening tests |
| [63] | Direct analysis of asymptomatic samples is normally negative for E. amylovora because of the low bacterial population. Consequently, when analysing asymptomatic material, it is an absolute requirement to perform enrichment from samples prepared in the antioxidant buffer (described above; Gorris et al., 1996a) for 72 h at approximately 25 ºC. The recommended screening tests are indicated in the flow diagram in Figure 2. It is advisable to perform at least two of these screening tests based on different biological principles: |
| [64] | Enrichment-isolation. Follow the procedure for symptomatic samples (section 3.1.3.2). |
| [65] | Enrichment-ELISA. Follow the procedure for symptomatic samples (section 3.1.4.1). |
| [66] | Enrichment-PCR or enrichment-real-time PCR. Use 500–1000 µl of the samples enriched in King’s B and/or CCT media for DNA extraction, then follow amplification according to Taylor et al. (2001) or Llop et al. (2000) or the real-time PCR protocol as described in section 3.1.5. |
| [67] | If any of the screening tests are positive, isolation of the pathogen from the extract stored at –80 ºC with glycerol or from the enriched samples should be attempted. When three tests or more are positive and the isolation is negative, it is reasonable to strongly suspect the presence of E. amylovora in the sample, but identification requires isolation of the pathogen from new samples and subsequent identification of the bacterium. |
| [68] | Identification |
| [69] | Identification should be based on results obtained from several techniques because other species of Erwinia such as E. piriflorinigrans (López et al., 2011), E. pyrifoliae (Kim et al., 1999; Rhim et al., 1999), E. uzenensis (Matsuura et al., 2012) and other Erwinia spp. (Kim et al., 2001a, 2001b; Palacio-Bielsa et al., 2012) that have relatively similar morphology to that of E. amylovora share some serological and molecular characteristics. Differentiation of E. amylovora from these closely related Erwinia species (that can be found in similarly symptomatic tissues in some hosts) can be achieved with a combination of three techniques based on different biological principles: (1) PCR based on chromosomal DNA (sections 3.1.5.2 and 4.3.1); (2) DASI-ELISA using specific monoclonal antibodies as described for detection (see section 3.1.4.1, excluding the enrichment step); and (3) inoculation into fire blight hosts to fulfil the requirements of Koch's postulates, including re-isolation of the inoculated pathogen (section 4.4). For identification of colonies, at least two of these three techniques are recommended to be performed. Other tests can also be used depending on the experience of the laboratory and these are described below. When required, the final confirmation of a culture’s identification should include a pathogenicity test. The E. amylovora isolates recommended for use as positive controls are NCPPB683 and CFBP 1430. The following collections, among others, can provide different E. amylovora reference strains: National Collection of Plant Pathogenic Bacteria (NCPPB), Central Science Laboratory, York, UK; Collection Française de Bactéries Phytopathogènes (CFBP), French National Institute for Agricultural Research (INRA) Station Phytobactériologie, Angers, France; Belgian Co-ordinated Collection of Microorganisms BCCM/LMG Bacteria Collection, Gent, Belgium; The International Collection of Microorganisms from Plants, Manaaki Whenua Landcare Research, Auckland, New Zealand; and The American Type Culture Collection (ATTC), Manassas, VA, United States. The authenticity of the strains can be guaranteed only if directly obtained from the culture collections. |
| [70] | 4.1 Nutritional and enzymatic identification |
| [71] | Key phenotypic tests are useful and are still used for identification, but it is advised to combine them with pathogenicity assays and a serological or molecular test. Members of the genus Erwinia are defined as Gram-negative, facultative anaerobes, motile by peritrichous flagella, rod-shaped, and able to produce acid from glucose, fructose, galactose and sucrose. Key phenotypic properties (Paulin, 2000) that are common to most strains in E. amylovora, according to the methods of Jones and Geider (2001), are: oxidase test (–), oxidative/fermentative (O/F) test (+/+), fluorescent pigment in King’s B medium under UV light (–), levan production (+), nitrate reduction (–), citrate utilization (+), gelatine liquefaction (+), urease and indol (–), and colony morphology on CCT medium. |
| [72] | The following tests differentiate E. amylovora from E. pyrifoliae and E. piriflorinigrans, although some physiological and biochemical characteristics may vary for some strains (Table 1). |
| [73] | Table 1. Differences among Erwinia amylovora, Erwinia pyrifoliae and Erwinia piriflorinigrans |
| [74] | Microbiological test Erwinia amylovora Erwinia pyrifoliae Erwinia piriflorinigrans Gelatine hydrolysis + – – Inositol1 – ND + Sorbitol1 + + – Aesculin1 V – + Melibiose1 – – + D-raffinose1 – – + b-Gentibiose1 + - + Amplification with2 EP16A/EPI62C CPS1/CPS2C – + ND |
| [75] | 1 From Roselló et al. (2006) and López et al. (2011). Oxidation of substrates in API 50 CH strips (bioMérieux), using the method described by López et al. (2011). More than 90% of strains give the results indicated. |
| [76] | 2 According to Kim et al. (2001b). |
| [77] | ND, not determined; V, variable. |
| [78] | 4.1.1 Biochemical characterization |
| [79] | 4.1.1.1 Nutritional and enzymatic profiling |
| [80] | Identification of E. amylovora can be obtained biochemically by profiling on the API system 20 E and 50 CH strips (bioMérieux2). API 20 E. The manufacturer’s instructions should be followed for preparing the suspension and inoculating the strip. The strip is incubated at 25–26ºC. The readings after 48 h should be as indicated for a typical E. amylovora culture: the tests lysine decarboxylase (LDC), ornithine decarboxylase (ODC), citrate utlization (CIT), H2S production (SH2), urease (URE), tryptophan deaminase (TDA), indole production (IND), and rhamnose oxidation (RHA) should be negative, while sucrose oxidation (SAC) should be positive. Other tests may vary by strain, according to Donat et al. (2007). API 50 CH. A suspension of OD 1.0 (at 600 nm wavelength) is prepared in PBS. One millilitre of the suspension is added to 20 ml Ayers medium (NH4H2PO4, 1 g; KCl, 0.2 g; MgSO4, 0.2 g; bromothymol blue 0.2%, 75 ml; distilled water, 1 litre; pH 7; sterilized at 120 ºC for 20 min) (Ayers et al., 1919). The manufacturer’s instructions should be followed for inoculation of the strip. The strip is incubated at 25–26 ºC under aerobic conditions. Utilization of the different carbohydrates is observed by development of a yellow colour in the well. The reading after 72 h for a typical E. amylovora culture on API 50 CH should be: l-arabinose, ribose, d-glucose, d-fructose, mannitol, sorbitol, N-acetylglucosamine, sucrose, trehalose and β-gentiobiose positive. The remaining sugars are not utilized by E. amylovora in these conditions, but some strains can utilize glycerol and d-fucose, according to Donat et al. (2007). |
| [81] | 4.1.1.2 Automated identification |
| [82] | An automated identification system based on differential results of 94 phenotypic tests in a microtiter plate and accompanying analysis software are commercially available (OmniLog, Biolog). The manufacturer’s instructions should be followed for presumptive identification of suspected E. amylovora isolates. |
| [83] | 4.1.1.3 Fatty acid profiling |
| [84] | In fatty acid profiling (FAP), levan-positive, non-fluorescent colonies are grown on commercially available trypticase soy agar at 28 ºC for 48 h (Sasser, 1990). An appropriate fatty acid extraction procedure is applied and the extract is analysed using the commercially available Sherlock Microbial Identification System (MIS) (Microbial ID, Inc.) or other appropriate software for presumptive identification of E. amylovora, according to Wells et al. (1994). |
| [85] | 4.2 Serological identification |
| [86] | 4.2.1 Agglutination test |
| [87] | Suspected E. amylovora colonies can be presumptively identified by slide agglutination. A dense suspension of cells is mixed with a drop of PBS and a drop of E. amylovora specific antiserum (undiluted, or at 1:5 to 1:10 dilution only) on a slide. Monoclonal antibodies can be used providing they agglutinate the reference strains. The specificity of the antibodies must be established in advance. |
| [88] | 4.2.2 IF test |
| [89] | A suspension of approximately 106 cells/ml is prepared in PBS from levan-positive, non-fluorescent colonies and the IF procedure described in section 3.1.4.3 is applied. The specificity of the antibodies must be established in advance. |
| [90] | 4.2.3 ELISA |
| [91] | Direct tissue print-ELISA (section 3.1.4.2), DASI-ELISA (section 3.1.4.1) and indirect ELISA (see below) for isolate identification can be performed using specific monoclonal antibodies as described for detection. A mixture of monoclonal antibodies has been validated in two ring tests for DASI-ELISA. A suspension of approximately 108 cells/ml is prepared in PBS from suspected colonies. The DASI-ELISA procedure in section 3.1.4.1 can be used, but without the enrichment step. |
| [92] | Indirect ELISA |
| [93] | Pure cultures of the suspected isolates are treated at 100 ºC for 10 min in a water bath or heating block to reduce non-specific reactions with commercial monoclonal antibodies. Aliquots of 200 µl culture are mixed with an equal volume of carbonate buffer (Na2CO3, 1.59 g; NaHCO3, 2.93 g; distilled water, 1 litre; pH 9.6) and of this solutionare applied to at least two wells of a microtiter plate. The plate is incubated at 37 ºC for 1 h or at 4 ºC overnight. Extracts are flicked out from the wells and the microtitre plate is washed three times with washing buffer (see the DASI-ELISA protocol). The specific commercial anti-E. amylovora antibodies from Plant Print Diagnòstics SL are prepared at the recommended dilutions. To each well is added 200 µl of the diluted anti-E. amylovora antibody solution and the plate is incubated at 37 ºC for 1 h. The antibody solution is flicked out from the wells and the wells are washed as before. The appropriate dilution of secondary antibody-alkaline phosphatase conjugate (GAM-AP) is prepared in PBS containing 0.5% BSA. To each well is added 200 µl of the diluted conjugate antibody and the plate is incubated at 37 ºC for 1 h. The conjugated antibody is flicked out from the wells and the wells are washed as before. A 1 mg/ml alkaline phosphatase substrate (p-nitrophenylphosphate) is prepared in substrate buffer (diethanol amine, 97 ml; 800 ml distilled water; adjusted to pH 9.8 with concentrated HCl; then the volume is adjusted to 1 000 ml with distilled water). To each well is added 200 µl alkaline phosphatase substrate solution. The plate is incubated in the dark at room temperature and read at 405 nm at regular intervals within 90 min. A positive test is indicated by substrate conversion to a yellow colour. |
| [94] | 4.2.4 Lateral flow immunoassay |
| [95] | A suspension of 107 c.f.u./ml of the pure culture is prepared for presumptive identification. Buffers and procedures provided by the manufacturer of the kits are used, as described in section 3.1.4.4. |
| [96] | 4.3 Molecular identification |
| [97] | 4.3.1 PCR |
| [98] | A suspension of approximately 106 cells/ml is prepared in molecular grade sterile water from purified levan-positive, non-fluorescent colonies and is treated at 100 ºC for 10 min. The appropriate PCR procedures or the LAMP protocol are applied as described in sections 3.1.5.2 to 3.1.5.4 (directly, without DNA extraction). When using PCR to identify isolated colonies, 1 U of Taq DNA polymerase should be used (instead of 2 U as for plant material). |
| [99] | 4.3.2 Macro-restriction and PFGE |
| [100] | Pulsed field gel electrophoresis (PFGE) analysis of genomic DNA after XbaI digestion according to Jock et al. (2002) shows six patterns for E. amylovora European strains. The method can provide useful information for strain differentiation and has been applied to understanding the spread of fire blight in Europe (Donat et al., 2007; Jock et al., 2002). |
| [101] | 4.4 Pathogenicity techniques |
| [102] | Suspected E. amylovora colonies should be inoculated back into host plants to fulfil Koch’s postulates and verify their pathogenicity. For plant inoculation, susceptible cultivars of pear, apple, loquat, Crataegus, Cotoneaster or Pyracantha spp. are used. Young shoots are inoculated by cutting across a young leaf through the central vein with scissors dipped in a 109 c.f.u./ml suspension of each isolate prepared in PBS. The plants are maintained at 20–25 ºC at approximately 80% relative humidity for one to two weeks. Detached young shoots that have been surface-sterilized (treated with 70% ethanol for 30 s then washed three times with sterile distilled water) from greenhouse-grown plants can also be inoculated in the same way and kept in tubes with sterile 1% agar. The tubes should be kept at 20–25 ºC with 16 h light per day. Inoculation can also be performed on detached immature fruits of susceptible cultivars of pear, apple and loquat by placing 10 μl of 109 c.f.u./ml suspensions of the isolates in PBS into a fresh wound on the shoot or on the surface of disinfected fruits (treated with 70% commercial chlorine for 30 min then washed three times with sterile distilled water). They should be incubated in a humid chamber at 25 ºC for 3–5 days. E. amylovora-like colonies are re-isolated and characterized from inoculated organs showing typical fire blight symptoms. A positive test is evident by the oozing of bacteria and browning around the inoculation site after 2–7 days, as seen in the positive E. amylovora control, providing no lesions are or only a small necrotic lesion is observed at the wound site in the negative control. Other inoculation techniques are possible. Hypersensitive reactions in tobacco leaves may indicate expression of the hrp genes of E. amylovora, but this test may be positive for many other plant pathogenic bacteria. Tobacco plants of cv. Xanthi or Samsun with more than five to six leaves should be used. Bacterial suspensions of 109 c.f.u./ml (OD at 600 nm, 1.0) are prepared and a needle and syringe used to inject the suspensions into the intracellular space of mature leaves. Complete collapse of the infiltrated tissue after 24-48 h at room temperature is recorded as positive, as observed in the positive E. amylovora control. |
| [103] | Records |
| [104] | Records and evidence should be retained as described in section 2.5 of ISPM 27:2006. In instances where other contracting parties may be affected by the results of the diagnosis, retention of the original sample (labelled for traceability) culture(s) of the pest, preserved/mounted specimens or test materials (e.g. photograph of gels, ELISA plate results printout, PCR amplicons) is recommended at least for one year, especially in cases of non-compliance (ISPM 13:2001, Guidelines for the notification of non-compliance and emergency action) and where pests are found for the first time in a country or new area. A request for a revision to a diagnostic protocol may be submitted by national plant protection organizations (NPPOs), regional plant protection organizations (RPPOs) or Commission on Phytosanitary Measures (CPM) subsidiary bodies through the IPPC Secretariat (ippc@fao.org), which will in turn forward it to the Technical Panel to develop Diagnostic Protocols (TPDP). |
| [105] | Contact Points for Further Information |
| [106] | Further information on this organism can be obtained from: |
| [107] | Centro de Protección Vegetal, Instituto Valenciano de Investigaciones Agrarias (IVIA), Carretera Moncada-Náquera km 4.5, 46113 Moncada (Valencia), Spain (María M. López; e-mail: mlopez@ivia.es; tel.: +34 963424000; fax +34 963424001). |
| [108] | Plant Health and Environment Laboratory, Investigation and Diagnostic Centres, Ministry for Primary Industries, 231 Morrin Road, St Johns, Auckland 1140, New Zealand (Robert Taylor; e-mail: Robert.Taylor@mpi.govt.nz; tel.: +64 99093548; fax: +64 99095739). |
| [109] | Acknowledgements |
| [110] | The first draft of this protocol was written by M.M. López, IVIA, Spain (see section 6) and revised by R. Taylor, Ministry for Primary Industries, New Zealand (see section 6) and R. Roberts, USDA, United States (see preceding section). Most techniques described were ring tested in a DIAGPRO project financed by the European Union in 2003, in an EUPHRESCO project in 2009 and in a Spanish project in 2010. |
| [111] | References |
| [112] | Anonymous. 1998. Council Directive 98/57 EC of 20 July 1998 on the control of Ralstonia solanacearum (Smith) Yabuuchi et al. Official Journal of the European Communities, L235: 1–39. |
| [113] | Ayers, S.H., Rupp, P. & Johnson, W.T. 1919. A study of alkali-forming bacteria in milk. US Department of Agriculture Bulletin, 782. |
| [114] | Bereswill, S., Jock, S., Aldridge, P., Janse, J.D. & Geider, K. 1997. Molecular characterization of natural Erwinia amylovora strains deficient in levan synthesis. Physiological and Molecular Plant Pathology, 51: 215–225. |
| [115] | Bereswill, S., Pahl, A., Bellemann, P., Zeller, W. & Geider, K. 1992. Sensitive and species-specific detection of Erwinia amylovora by polymerase chain reaction analysis. Applied and Environmental Microbiology, 58: 3522–3526. |
| [116] | Bonn, W.G. & van der Zwet, T. 2000. Distribution and economic importance of fire blight. In J. Vanneste, ed. Fire blight, the disease and its causative agent Erwinia amylovora. Wallingford, UK, CAB International. Pgs 37 – 54. |
| [117] | Bradbury, J.F. 1986. Guide to plant pathogenic bacteria. Kew, Surrey, UK, CAB International Mycological Institute. |
| [118] | Burrill, T.J. 1883. New species of Micrococcus (bacteria). The American Naturalist, 17: 319. |
| [119] | Donat, V., Biosca, E.G., Peñalver, J. & López, M.M. 2007. Exploring diversity among Spanish strains of Erwinia amylovora and possible infection sources. Journal of Applied Microbiology, 103: 1639–1649. |
| [120] | Dreo, T., Duffy, B., López, M., Paulin, J.P., Poliakoff, F. & Reisenzein, H. 2009. Development and validation of innovative diagnostic tools for the detection of fire blight (Erwinia amylovora). York, UK, EUPHRESCO. (Available online at http://www.euphresco.org/downloadFile.cfm?id=662, accessed September 2012.) |
| [121] | EPPO/OEPP (1992) Quarantine procedure no.40. Erwinia amylovora. Sampling and test methods. Bull. OEPP 22: 225-231. EPPO (European and Mediterranean Plant Protection Organization). 2013. EPPO Plant Quarantine Data Retrieval System (Available online at http//www.eppo.orgDATABASES/pqr/pqr.htm) |
| [122] | Gorris, M.T., Cambra, M., Llop, P., López, M.M., Lecomte, P., Chartier, R. & Paulin, J.P. 1996. A sensitive and specific detection of Erwinia amylovora based on the ELISA-DASI enrichment method with monoclonal antibodies. Acta Horticulturae, 411: 41–45. |
| [123] | Gottsberger, R.A. (2010). Development and evaluation of a real-time PCR assay targeting chromosomal DNA of Erwinia amylovora. Letters in Applied Microbiology 51 (2010) 285–292. |
| [124] | Ishimaru, E.S. & Klos, E.J. 1984. New medium for detection of Erwinia amylovora and its use in epidemiological studies. Phytopathology, 74: 1342–1345. |
| [125] | ISPM 13. 2001. Guidelines for the notification of non-compliance and emergency action. Rome, IPPC, FAO. |
| [126] | ISPM 27. 2006. Diagnostic protocols for regulated pests. Rome, IPPC, FAO. |
| [127] | Jock, S., Donat, V., López, M.M., Bazzi, C. & Geider, K. 2002. Following spread of fire blight in Western, Central and Southern Europe by molecular differentiation of Erwinia amylovora strains with PFGE analysis. Environmental Microbiology, 4: 106–114. |
| [128] | Jones, A. & Geider, K. 2001. II Gram negative bacteria. B. Erwinia and Pantoea. In N.W. Schaad, J.B. Jones & W. Chum, eds. Guide for identification of plant pathogenic bacteria, 2nd edn. St Paul, MN, USA, APS Press. |
| [129] | Kim, W.S., Gardan, L., Rhim, S.L. & Geider, K. 1999. Erwinia pyrifoliae sp., a novel pathogen that affects Asian pear trees (Pyrus pyrifolia Nakai) International Journal of Systemic Bacteriology, 49: 899–906. |
| [130] | Kim, W.S., Hildebrand, M., Jock, S. & Geider, K. 2001a. Molecular comparison of pathogenic bacteria from pear trees in Japan and the fire blight pathogen Erwinia amylovora. Microbiology, 147: 2951–2959. |
| [131] | Kim, W.S., Jock, S., Rhim, S-L. & Geider, K. 2001b. Molecular detection and differentiation of Erwinia pyrifoliae and host range analysis of the Asian pear pathogen. Plant Disease, 85: 1183–1188. |
| [132] | King, E.O., Ward, M. & Raney, D.E. 1954. Two simple media for the demonstration of pyocyanin and fluorescein. Journal of Laboratory and Clinical Medicine, 44: 301–307. |
| [133] | Lehman, S.M., Kim, W.K., Castle, A.J. & Svircev, S.M. 2008. Dualplex real-time polymerase chain reaction reveals competition between Erwinia amylovora and E. pyrifoliae on pear blossoms. Phytopathology, 98: 673–679. |
| [134] | López, M.M., Llop, P., Gorris, M.T., Keck, M., Peñalver, J., Donat, V. & Cambra, M. 2006. European protocol for diagnosis of Erwinia amylovora. Acta Horticulturae, 704: 99–103. |
| [135] | López, M.M., Peñalver, J., Arilla, A., Morente, C., Dreo, T., Pirc, M., Poliakoff, F., Dousset, C., Visage, M., Achbani, E., Bersgma-Vlami, M., Drenova, N., Duffy, B., Marín, M., Meekes, E., Moumni, M., Obradovic, A., Palomo, J., Taylor, R., Stockwell, V. & Reisenzein, H. 2010. Ring test evaluation of techniques for Erwinia amylovora diagnosis and detections. 12th International Workshop on Fire Blight. Warsaw, Poland. Abstract 18. |
| [136] | López, M.M., Roselló, M.M., Llop, P., Ferrer, S., Christen, R. & Gardan, L. 2011. Erwinia piriflorinigrans sp. nov., a novel pathogen that causes necrosis of pear blossoms. International Journal of Systemic and Evolutionary Microbiology, 61: 561–567. |
| [137] | Llop, P., Caruso, P., Cubero, J., Morente, C. & López, M.M. 1999 A simple extraction procedure for efficient routine detection of pathogenic bacteria in plant material by polymerase chain reaction. Journal of Microbiological Methods, 37: 23–31. |
| [138] | Llop, P., Bonaterra, A., Peñalver, J. & López, M.M. 2000. Development of a highly sensitive nested-PCR procedure using a single closed tube for detection of Erwinia amylovora in asymptomatic plant material. Applied and Environmental Microbiology, 66: 2071–2078. |
| [139] | Llop, P., Donat, V., Rodríguez, M., Cabrefiga, J., Ruz, L., Palomo, J.L., Montesinos, E. & López, M.M. 2006. An indigenous virulent strain of Erwinia amylovora lacking the ubiquitous plasmid pEA29. Phytopathology, 96: 900–907. |
| [140] | McManus, P.S. & Jones, A.L. 1995. Detection of Erwinia amylovora by nested-PCR and PCR-dot-blot and reverse blot hybridisations. Phytopathology, 85: 618–623. |
| [141] | Matsuura, T., Mizuno, A., Tsukamoto, T., Shimizu, Y., Saito, N., Sato, S., Kikuchi, S., Uzuki, T., Azegami, K. & Sawada, H. 2012. Erwinia uzenensis sp. nov., a novel pathogen that affects European pear trees (Pyrus communis L.). International Journal of Systemic and Evolutionary Microbiology, doi: 10.1099/ijs.0.032011-0. |
| [142] | Ordax, M., Biosca, E.G., Wimalajeewa, S.C., López, M.M. & Marco-Noales, E. 2009. Survival of Erwinia amylovora in mature apple fruit calyces through the viable but nonculturable (VBNC) state. Journal of Applied Microbiology, 107: 106–116. |
| [143] | Obradovic, D., Balaz, J. & Kevresan, S. 2007. Detection of Erwinia amylovora by novel chromosomal polymerase chain reaction primers. Mikrobiologiia, 76: 844–852. |
| [144] | Palacio-Bielsa, A., Roselló, M., Llop, P. & López, M.M. 2012. Erwinia spp. from pome fruit trees: Similarities and differences among pathogenic and nonpathogenic species. Trees, 26: 13–29. |
| [145] | Paulin, J.P. 2000. Erwinia amylovora: General characteristics, biochemistry and serology. In J. Vanneste, ed. Fire blight, the disease and its causative Agent, Erwinia amylovora. Wallingford, UK, CAB International. Pgs 87-116 |
| [146] | Pirc, M., Ravnikar, M. & Tomlinson, J. 2009. Improved fireblight diagnostics using quantitative real-time PCR detection of Erwinia amylovora chromosomal DNA. Plant Pathology, 58: 872–881. |
| [147] | Powney, R., Beer, S., Plummer, K., Luck, J. & Rodoni, B. 2011a. The specificity of PCR-based protocols for detection of Erwinia amylovora. Australian Plant Pathology, 40: 87–97. |
| [148] | Powney, R., Smits, T.H., Sawbridge, T., Frey, B., Blom, J., Frey, J.E., Plummer, K.M., Beer, S.V., Luck, J., Duffy, B. & Rodoni, B. 2011b. Genome sequence of an Erwinia amylovora strain with pathogenicity restricted to Rubus plants. Journal of Bacteriology, 193: 785–786. |
| [149] | Rhim, S-L., Völksch, B., Gardan, L., Paulin, J-P., Langlotz, C., Kim, S-L. & Geider, K. 1999. Erwinia pyrifoliae, an Erwinia species different from Erwinia amylovora, causes a necrotic disease of Asian pear trees. Plant Pathology, 48: 514–520. |
| [150] | Roselló, M., Peñalver, J., Llop, P., Gorris, M.T., Charter, R., Cambra, M. & López, M.M. 2006. Identification of an Erwinia sp. different from Erwinia amylovora and responsible for necrosis on pear blossoms. Canadian Journal of Plant Pathology, 28: 1–12. |
| [151] | Sasser, M. 1990. Identification of bacteria through fatty acid analysis. In F. Klement, K. Rudolf & D.C. Sands, eds. Methods in phytobacteriology, pp. 199–204. Budapest, Akademiai Kiadó. |
| [152] | Starr, M.P., Cardona, C. & Folsom, D. 1951. Bacterial fire blight of raspberry. Phytopathology, 41: 9515–9559. |
| [153] | Stöger, A., Schaffer, J. & Ruppitsch, W. 2006. A rapid and sensitive method for direct detection of Erwinia amylovora in symptomatic and asymptomatic plant tissues by polymerase chain reaction. Journal of Phytopathology, 154: 469–473. |
| [154] | Tanii A., Tamura, O. & Ozaki, M. 1981. The causal agent of a fire blight-like disease. Annals of the Phytopathological Society of Japan, 47: 102. |
| [155] | Taylor, R.K., Guilford, P.J., Clark, R.G., Hale, C.N. & Forster, R.L.S. 2001. Detection of Erwinia amylovora in plant material using novel polymerase chain reaction (PCR) primers. New Zealand Journal of Crop and Horticultural Science, 29: 35–43. |
| [156] | Temple, T.N. & Johnson, K.B. 2011. Evaluation of loop-mediated isothermal amplification for rapid detection of Erwinia amylovora on pear and apple fruit flowers. Plant Disease, 95: 423–443. |
| [157] | Temple, T.N., Stockwell, V.O. & Johnson, K. 2008. Development of a rapid detection method for Erwinia amylovora by loop-mediated isothermal amplification (LAMP). Acta Horticulturae, 793: 497–504. |
| [158] | Thomson, S.V. 2000. Epidemiology of fire blight. In J. Vanneste, ed. Fire blight, the disease and its causative agent Erwinia amylovora. Wallingford, UK, CAB International. Pgs 9-36 |
| [159] | van der Zwet, T. 2004. Present worldwide distribution of fire blight and closely related diseases. Acta Horticulturae, 704: 35. |
| [160] | van der Zwet, T. & Beer, S. 1995. Fire blight: Its nature, prevention and control. A practical guide to integrated disease management. USDA Agricultural Information Bulletin, No. 631. |
| [161] | van der Zwet, T. & Keil, H.L. 1979. Fire blight: A bacterial disease of rosaceous plants. United States Department of Agriculture (USDA) Handbook 510. Washington DC, USDA. |
| [162] | Weller, S.A., Elphinstone, J.G., Smith, N.C., Boonham, N. & Stead, D.E. 2000. Detection of Ralstonia solanacearum strains with a quantitative multiplex, real-time, fluorogenic PCR (TaqMan) assay. Applied and Environmental Microbiology, 66: 2853–2858 |
| [163] | Wells, J.M., van der Zwet, T. & Hale, C.N. 1994. Differentiation of Erwinia species in the “amylovora” group by class analysis of cellular fatty acids. Journal of Phytopathology, 140: 31–38. |
| [164] | Winslow, C.E.A., Broadhurst, J., Buchanan, R.E, Krumwiede Jr, C., Rogers, L.A. & Smith, G.H. 1920. The families and genera of the bacteria. Final Report of the Committee of the Society of American Bacteriologists on Characterization and Classification of Bacterial Types. Journal of Bacteriology, 5: 191–229. |
| [165] | Figure 1. Flow chart for the diagnosis of fire blight in plants with symptoms. |
| [166] | Figure 2. Flow chart for the identification of Erwinia amylovora in asymptomatic samples. |
| [167] |  |
| [168] | Footnote 1: See footnote 10. |
| [169] | Footnote 2: The use of products of the brand bioMérieux in this diagnostic protocol implies no approval of them to the exclusion of others that may also be suitable. This information is given for the convenience of users of this protocol and does not constitute an endorsement by the CPM of the chemical, reagent and/or equipment named. Equivalent products may be used if they can be shown to lead to the same results. |